August 10, 2026

Hands-on Latin American School of Neuroscience
Chilean Society for Neuroscience - IV FALAN Congress
Obtaining a cell suspension from mouse brain

Objective: To obtain astrocytes and microglia from mice for analysis by flow cytometry.

Tissues to obtain:

- From each mouse:

  - Whole brain. Without cerebellum or olfactory bulb.

References:

- Bordt, 2020. Isolation of microglia from mouse or human tissue.

- Calvo, 2020. Dissociation of neonatal and adult mice brain for analysis of microglia and astrocytes.

- Pennartz, 2009 (Miltenyi). Generation of single-cell suspension from mouse neural tissue.

- He, 2019. Isolation of culture of astrocytes from postnatal and adult mouse brains.

Equipment:

At the ICIM, UDD

- gentleMACS Dissociator (Miltenyi)

- 37°C incubator.

- Rotating tube shaker.

Materials:

- Animals:

  - 2 male C57BL/6 mice.

- cTubes (130-093-237, Miltenyi).

- Papain from papaya latex (1.03 mL; P3125-25mg, Sigma).

  - 20.1 U/mg protein.

  - 29.5 mg protein/mL.  592.95 U/mL.

- HEPES 1 M.

- DNase I from bovine pancreas (Roche).

  - >2,000 U/mg. Requires bivalent metal cations for maximal activity (Ca2+, Mg2+).

- HBSS + Ca+2, Mg+2 (14025092, Gibco).

- FBS.

- PBS.

- Debris removal solution (130-109-398, Miltenyi).

Protocol:

- Prepare enzyme mix 1 and enzyme mix 2.

| Enzyme mix 1 |  |  | Enzyme mix 2 |  |  |
| --- | --- | --- | --- | --- | --- |
|  | For 1 tissue | For 2 tissues |  | For 1 tissue | For 2 tissues |
| HBSS + Ca+2, Mg+2 | 1870 µL | 3740 µL | HBSS + Ca+2, Mg+2 | 181.52 µL | 363.04 µL |
| HEPES 1 M (10 mM final) | 20 µL | 40 µL | DNase I 20,000 U/mL | 18.48 µL | 36.96 µL |
| FBS (5% final) | 100 µL | 200 µL |  |  |  |
| Papain 593 U/mL (3 U/mL final) * Personal communication from Javiera Gallardo with Debora Souza | 10.1 µL | 20.2 µL |  |  |  |
| Final volume | 2 mL | 4 mL |  | 0.2 mL | 0.4 mL |

- The brain is extracted from the mouse.

- Tissues are kept in PBS until euthanasia of all mice is completed.

- Transfer 1950 µL of Enzyme mix 1 to 2 cTubes and warm them at 37°C for 15 min in the tube shaker.

- The tissues are transferred  to a cTube with 1950 µL of pre-warmed Enzyme mix 1, each.

  - Make sure the tissue sits in the rotation zone of the cTube.

  - Only reused cTubes are used.

- The m_brain_01 program of the OctoDissociator is started.

  - ~37 sec.

- The tubes are incubated at 37°C for 15 min under constant rotation.

- The m_brain_02 program of the OctoDissociator is started.

  - ~30 sec.

- 30 µL of Enzyme mix 2 are added to the cTube.

  - Invert the tube gently to homogenize. Do not vortex.

- The tubes are incubated at 37°C for 10 min under constant rotation.

- The m_brain_03 program of the OctoDissociator is started.

  - ~61 sec.

- The tubes are incubated at 37°C for 10 min under constant rotation.

- The cells are centrifuged to bring them to the bottom of the tube.

- The cells are resuspended in their own supernatant and filtered using a 70 µm pore Cell Strainer over a 50 mL tube.

  - The Cell Strainer is pre-wetted with 1 mL of HBSS + Ca+2, Mg+2.

  - An additional 9 mL of HBSS + Ca+2, Mg+2 are added to wash the filter.

- The filtered cells are centrifuged at 300 g, 10 min at 4°C.

- The supernatant is completely removed and the cells are resuspended in 3.1 mL of cold PBS.

  - They are agitated after removal of the supernatant to prevent them from clumping.

- The cells are transferred to a 15 mL tube and 900 µL of Debris Removal Solution are added to each tube.

  - Mix well by pipetting up and down 10 times.

- Slowly add 2 mL of PBS on top, creating a visible gradient.

- Centrifuge 10 min, 3,000 g, 4°C, maximum acceleration, maximum brake.

- Remove the upper layers, corresponding to the PBS and the myelin. Add PBS up to 14 mL.

  - The upper layers are removed.

  - To mix cells and PBS, invert the tube 3 times,

- Centrifuge 10 min, 1,000 g, 4°C, maximum acceleration, maximum brake.

- An aliquot is taken to count the cells.

- Centrifuge 10 min, 1,000 g, 4°C, maximum acceleration, maximum brake.

- While centrifugation is taking place, prepare blocking solution.

  - 50 µL per sample + an excess.

  - FC block 1/400. Prepared as 1 µL in 400 µL of PBS + 2% FBS.

- Also prepare the antibodies.

  - Viability dye at 1 μL in 1000 μL.

  - At twice the required concentration.

  - Tubes are prepared with all the antibodies together and with each one separately.

|  | ACSA-2 | CD45 | CD11b | Viability (Zombie Violet) |
| --- | --- | --- | --- | --- |
| Required (prepared) concentration | 1/200 (1/100) | 1/200 (1/100) | 1/200 (1/100) | 1/1000 |
| Volume | 2.5 µL in 250 μL | 2.5 µL in 250 μL | 2.5 µL in 250 μL | 1 μL in 1000 μL |

  - Kept protected from light at 4°C.

- Aspirate supernatant and resuspend the cells in 50 µL of blocking solution.

  - They are first resuspended dry.

  - They are homogenized by pipetting up and down 6 times.

  - They are incubated on ice for 15 min.

- Then 50 µL of the antibody solution are added and the cells are incubated at 4°C in the dark for 25 min.

- Afterwards, 1 mL of PBS + 2% FBS is added and the cells are centrifuged at 1000 g, 4°C, 5 min.

- They are resuspended in PBS + 2% FBS + 0.5 mM EDTA.